## records
saved_at | key | group | label | enabled | r2e_gain | r2e_offset | e2r_gain | e2r_offset
2025-09-18 09:42:07 | ch1 | Trim | TC1 | TRUE | 0.0125 | 0 | 0.0125 | 0
2025-09-18 09:42:07 | ch2 | Trim | TC2 | TRUE | 0.0125 | 0 | 1 | 0
2025-09-18 09:42:07 | ch3 | Trim | TC3 | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | ch4 | Trim | TC4 | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | ch5 | Trim | TC5 | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | ch6 | Trim | TC6 | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | ch7 | Trim | TC7 | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | ch8 | Trim | TC8 | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | ch9 | Trim | TC9 | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | ch10 | Trim | TC10 | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | ch11 | Trim | TC11 | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | ch12 | Trim | TC12 | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | main_magnet | Trim | Main Magnet | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | centering_beam | Trim | Centering Beam | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | coax_a | Extraction | Coax [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | inside_iron_a | Extraction | Inside Iron [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | outside_iron_a | Extraction | Outside Iron [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | esd_v | Extraction | ESD [V] | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | esd_a | Extraction | ESD [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | fringe_a | Extraction | Fringe [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | esd_in_angle | Extraction Angles | ESD Entrance [°] | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | esd_out_angle | Extraction Angles | ESD Exit [°] | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | coax_in_angle | Extraction Angles | Coax Entrance [°] | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | coax_out_angle | Extraction Angles | Coax Exit [°] | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | iron_in_angle | Extraction Angles | Iron Entrance [°] | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | iron_out_angle | Extraction Angles | Iron Exit [°] | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | filament_a | Source | Filament [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | filament_v | Source | Filament [V] | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | arc_v | Source | Arc [V] | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | arc_a | Source | Arc [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | gas_flow | Source | Gas Flow | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | gas_turns | Source | Gas Turns | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | vac1 | Vac/Beam/RF | TP1 [mbar] | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | vac2 | Vac/Beam/RF | TP2 [mbar] | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | vac3 | Vac/Beam/RF | TP3 [mbar] | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | vac4 | Vac/Beam/RF | Vac 4 | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | vac5 | Vac/Beam/RF | Vac 5 | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | beam_current | Vac/Beam/RF | Beam Current | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | rf_power_kv | Vac/Beam/RF | RF Power [kV] | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | q1a_a | Transport | 1_A Quadrupoles [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | q1b_a | Transport | 1_B Quadrupoles [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | q2a_a | Transport | 2_A Quadrupoles [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | q2b_a | Transport | 2_B Quadrupoles [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | steer40_a | Transport | Steering 40" [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | steer50_a | Transport | Steering 50" [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | coll_s1_l_a | Transport | Coll S1 Left [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | coll_s1_r_a | Transport | Coll S1 Right [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | coll_s2_l_a | Transport | Coll S2 Left [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 09:42:07 | coll_s2_r_a | Transport | Coll S2 Right [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | ch1 | Trim | TC1 | TRUE | 0.0125 | 0 | 0.0125 | 0
2025-09-18 15:20:01 | ch2 | Trim | TC2 | TRUE | 0.0125 | 0 | 1 | 0
2025-09-18 15:20:01 | ch3 | Trim | TC3 | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | ch4 | Trim | TC4 | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | ch5 | Trim | TC5 | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | ch6 | Trim | TC6 | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | ch7 | Trim | TC7 | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | ch8 | Trim | TC8 | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | ch9 | Trim | TC9 | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | ch10 | Trim | TC10 | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | ch11 | Trim | TC11 | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | ch12 | Trim | TC12 | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | main_magnet | Trim | Main Magnet | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | centering_beam | Trim | Centering Beam | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | coax_a | Extraction | Coax [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | inside_iron_a | Extraction | Inside Iron [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | outside_iron_a | Extraction | Outside Iron [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | esd_v | Extraction | ESD [V] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | esd_a | Extraction | ESD [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | fringe_a | Extraction | Fringe [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | esd_in_angle | Extraction Angles | ESD Entrance [°] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | esd_out_angle | Extraction Angles | ESD Exit [°] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | coax_in_angle | Extraction Angles | Coax Entrance [°] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | coax_out_angle | Extraction Angles | Coax Exit [°] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | iron_in_angle | Extraction Angles | Iron Entrance [°] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | iron_out_angle | Extraction Angles | Iron Exit [°] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | filament_a | Source | Filament [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | filament_v | Source | Filament [V] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | arc_v | Source | Arc [V] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | arc_a | Source | Arc [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | gas_flow | Source | Gas Flow | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | gas_turns | Source | Gas Turns | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | vac1 | Vac/Beam/RF | TP1 [mbar] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | vac2 | Vac/Beam/RF | TP2 [mbar] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | vac3 | Vac/Beam/RF | TP3 [mbar] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | vac4 | Vac/Beam/RF | Vac 4 | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | vac5 | Vac/Beam/RF | Vac 5 | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | beam_current | Vac/Beam/RF | Beam Current | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | rf_power_kv | Vac/Beam/RF | RF Power [kV] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | q1a_a | Transport | 1_A Quadrupoles [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | q1b_a | Transport | 1_B Quadrupoles [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | q2a_a | Transport | 2_A Quadrupoles [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | q2b_a | Transport | 2_B Quadrupoles [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | steer40_a | Transport | Steering 40" [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | steer50_a | Transport | Steering 50" [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | coll_s1_l_a | Transport | Coll S1 Left [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | coll_s1_r_a | Transport | Coll S1 Right [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | coll_s2_l_a | Transport | Coll S2 Left [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:20:01 | coll_s2_r_a | Transport | Coll S2 Right [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | ch1 | Trim | TC1 | TRUE | 0.0125 | 0 | 0.0125 | 0
2025-09-18 15:21:05 | ch2 | Trim | TC2 | TRUE | 0.0125 | 0 | 0.0125 | 0
2025-09-18 15:21:05 | ch3 | Trim | TC3 | TRUE | 1 | 0 | 0.0125 | 0
2025-09-18 15:21:05 | ch4 | Trim | TC4 | TRUE | 1 | 0 | 0.0125 | 0
2025-09-18 15:21:05 | ch5 | Trim | TC5 | TRUE | 1 | 0 | 0.0125 | 0
2025-09-18 15:21:05 | ch6 | Trim | TC6 | TRUE | 1 | 0 | 0.0125 | 0
2025-09-18 15:21:05 | ch7 | Trim | TC7 | TRUE | 1 | 0 | 0.0125 | 0
2025-09-18 15:21:05 | ch8 | Trim | TC8 | TRUE | 1 | 0 | 0.0125 | 0
2025-09-18 15:21:05 | ch9 | Trim | TC9 | TRUE | 1 | 0 | 0.0125 | 0
2025-09-18 15:21:05 | ch10 | Trim | TC10 | TRUE | 1 | 0 | 0.0125 | 0
2025-09-18 15:21:05 | ch11 | Trim | TC11 | TRUE | 1 | 0 | 0.0125 | 0
2025-09-18 15:21:05 | ch12 | Trim | TC12 | TRUE | 1 | 0 | 0.0125 | 0
2025-09-18 15:21:05 | main_magnet | Trim | Main Magnet | TRUE | 1 | 0 | 0.0125 | 0
2025-09-18 15:21:05 | centering_beam | Trim | Centering Beam | TRUE | 1 | 0 | 0.0125 | 0
2025-09-18 15:21:05 | coax_a | Extraction | Coax [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | inside_iron_a | Extraction | Inside Iron [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | outside_iron_a | Extraction | Outside Iron [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | esd_v | Extraction | ESD [V] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | esd_a | Extraction | ESD [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | fringe_a | Extraction | Fringe [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | esd_in_angle | Extraction Angles | ESD Entrance [°] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | esd_out_angle | Extraction Angles | ESD Exit [°] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | coax_in_angle | Extraction Angles | Coax Entrance [°] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | coax_out_angle | Extraction Angles | Coax Exit [°] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | iron_in_angle | Extraction Angles | Iron Entrance [°] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | iron_out_angle | Extraction Angles | Iron Exit [°] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | filament_a | Source | Filament [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | filament_v | Source | Filament [V] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | arc_v | Source | Arc [V] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | arc_a | Source | Arc [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | gas_flow | Source | Gas Flow | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | gas_turns | Source | Gas Turns | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | vac1 | Vac/Beam/RF | TP1 [mbar] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | vac2 | Vac/Beam/RF | TP2 [mbar] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | vac3 | Vac/Beam/RF | TP3 [mbar] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | vac4 | Vac/Beam/RF | Vac 4 | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | vac5 | Vac/Beam/RF | Vac 5 | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | beam_current | Vac/Beam/RF | Beam Current | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | rf_power_kv | Vac/Beam/RF | RF Power [kV] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | q1a_a | Transport | 1_A Quadrupoles [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | q1b_a | Transport | 1_B Quadrupoles [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | q2a_a | Transport | 2_A Quadrupoles [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | q2b_a | Transport | 2_B Quadrupoles [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | steer40_a | Transport | Steering 40" [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | steer50_a | Transport | Steering 50" [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | coll_s1_l_a | Transport | Coll S1 Left [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | coll_s1_r_a | Transport | Coll S1 Right [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | coll_s2_l_a | Transport | Coll S2 Left [A] | TRUE | 1 | 0 | 1 | 0
2025-09-18 15:21:05 | coll_s2_r_a | Transport | Coll S2 Right [A] | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | ch1 | Trim | TC1 | TRUE | 10096 | 0 | 0.0125 | 0
2025-10-15 15:06:15 | ch2 | Trim | TC2 | TRUE | 10169.5 | 0 | 0.0125 | 0
2025-10-15 15:06:15 | ch3 | Trim | TC3 | TRUE | 10000 | 1.1 | 0.0125 | 0
2025-10-15 15:06:15 | ch4 | Trim | TC4 | TRUE | 10458 | 0 | 0.0125 | 0
2025-10-15 15:06:15 | ch5 | Trim | TC5 | TRUE | 10734 | 0 | 0.0125 | 0
2025-10-15 15:06:15 | ch6 | Trim | TC6 | TRUE | 10165 | 0 | 0.0125 | 0
2025-10-15 15:06:15 | ch7 | Trim | TC7 | TRUE | 10207.4 | 0 | 0.0125 | 0
2025-10-15 15:06:15 | ch8 | Trim | TC8 | TRUE | 1 | 0 | 0.0125 | 0
2025-10-15 15:06:15 | ch9 | Trim | TC9 | TRUE | 10112 | 0 | 0.0125 | 0
2025-10-15 15:06:15 | ch10 | Trim | TC10 | TRUE | 10000 | 0 | 0.0125 | 0
2025-10-15 15:06:15 | ch11 | Trim | TC11 | TRUE | 1 | 0 | 0.0125 | 0
2025-10-15 15:06:15 | ch12 | Trim | TC12 | TRUE | 1 | 0 | 0.0125 | 0
2025-10-15 15:06:15 | main_magnet | Trim | Main Magnet | TRUE | 1 | 0 | 0.0125 | 0
2025-10-15 15:06:15 | centering_beam | Trim | Centering Beam | TRUE | 1 | 0 | 0.0125 | 0
2025-10-15 15:06:15 | coax_a | Extraction | Coax [A] | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | inside_iron_a | Extraction | Inside Iron [A] | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | outside_iron_a | Extraction | Outside Iron [A] | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | esd_v | Extraction | ESD [V] | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | esd_a | Extraction | ESD [A] | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | fringe_a | Extraction | Fringe [A] | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | esd_in_angle | Extraction Angles | ESD Entrance [°] | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | esd_out_angle | Extraction Angles | ESD Exit [°] | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | coax_in_angle | Extraction Angles | Coax Entrance [°] | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | coax_out_angle | Extraction Angles | Coax Exit [°] | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | iron_in_angle | Extraction Angles | Iron Entrance [°] | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | iron_out_angle | Extraction Angles | Iron Exit [°] | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | filament_a | Source | Filament [A] | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | filament_v | Source | Filament [V] | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | arc_v | Source | Arc [V] | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | arc_a | Source | Arc [A] | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | gas_flow | Source | Gas Flow | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | gas_turns | Source | Gas Turns | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | vac1 | Vac/Beam/RF | TP1 [mbar] | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | vac2 | Vac/Beam/RF | TP2 [mbar] | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | vac3 | Vac/Beam/RF | TP3 [mbar] | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | vac4 | Vac/Beam/RF | Vac 4 | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | vac5 | Vac/Beam/RF | Vac 5 | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | beam_current | Vac/Beam/RF | Beam Current | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | rf_power_kv | Vac/Beam/RF | RF Power [kV] | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | q1a_a | Transport | 1_A Quadrupoles [A] | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | q1b_a | Transport | 1_B Quadrupoles [A] | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | q2a_a | Transport | 2_A Quadrupoles [A] | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | q2b_a | Transport | 2_B Quadrupoles [A] | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | steer40_a | Transport | Steering 40" [A] | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | steer50_a | Transport | Steering 50" [A] | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | coll_s1_l_a | Transport | Coll S1 Left [A] | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | coll_s1_r_a | Transport | Coll S1 Right [A] | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | coll_s2_l_a | Transport | Coll S2 Left [A] | TRUE | 1 | 0 | 1 | 0
2025-10-15 15:06:15 | coll_s2_r_a | Transport | Coll S2 Right [A] | TRUE | 1 | 0 | 1 | 0